## ⚙️ ALLWEI PPS2400 Storage Unit Office Setup

### 🔧 Hardware Integration Map

| Component | Watts (est) | Function | Schedule |
| --- | --- | --- | --- |
| Desktop PC | ~85 W | Productivity / Design | 2:00 PM – 10:00 PM |
| 3 Monitors | ~90 W | Visual multitasking | 2:00 PM – 10:00 PM |
| USB Hub + Peripherals | ~80 W | Mouse, keyboard, storage, etc. | 2:00 PM – 10:00 PM |
| Printer | ~60 W | Docs, forms, invoices | Intermittent |
| Desk motor (sit-stand) | ~120 W | Ergonomic adjustment (peak only) | 2–3 times daily |
| LED Lights / Lamps | ~30 W | Comfort & visibility | 2:00 PM – 10:00 PM |
| Charging (Phone/Tablet) | ~40 W | Communication tools | 2:00 PM – 10:00 PM |

🧮 Continuous Draw: ~345–400 W
 ⏳ Operating Time: ~8 hours/day
 🔋 Energy Use: 400 W × 8h = ~3,200 Wh/day (peak)
 ⚠️ Mitigation Strategy: Solar backfeed, stagger usage (e.g., printer only when solar is strong)

## ☀️ Solar Charging (2 × 200W Panels)

| Metric | Value |
| --- | --- |
| Rated Input | 400W |
| Real-World Efficiency | ~85% |
| Effective Input | ~340W |
| Sunlight Hours (avg CA) | ~5h/day |
| Daily Solar Yield | 340W × 5h = ~1,700 Wh/day |

Net Strategy:

- Start day on full battery → solar supplements draw during the day

- Battery usage = 3,200 – 1,700 = ~1,500 Wh → Leaves 500 Wh buffer by end of day

## 📦 Storage Unit Workspace Layout (10×10)

[Front Door]

[← 5 ft →][← 5 ft →]

┌────────────┬────────────┐

│            │            │

│  DESK +    │   STORAGE   │

│  MONITORS  │  (backpacks│

│            │  duffels,  │

│            │  bows)     │

├────────────┼────────────┤

│   PPS2400  │   SOLAR    │

│   Unit     │  CHARGE IN │

│            │  (through  │

│            │   vent)    │

└────────────┴────────────┘

[Back Wall]

🪛 Add pass-through cable to run solar cables from outside (approved vent or weatherproof port)
 🧯 Optional: Fire extinguisher + smoke/CO2 sensor for safe solo operation

## 🕹️ Daily Usage Protocol (SOP Lite)

### Morning (4:00–4:45 AM)

- Shower & prep at Planet Fitness

- Check weather via app (for solar yield expectation)

- Ensure PPS2400 is 100% charged from prior day

### Midday (1:30–2:00 PM)

- Arrive at storage

- Begin solar feed (~400W live charging)

- Power strip ON → Desk, monitors, PC go live

### Afternoon Work Block (2:00–6:00 PM)

- Main work session

- Print only during peak sunlight (~2–4 PM)

- Monitor battery charge % via Landbook app

### Evening Wind-Down (6:00–10:00 PM)

- Shut down monitor 3 and printer

- Dim lights, reduce draw

- End with ~20–30% battery buffer

- Optional 2nd gym visit before roadside sleep

## 🛠️ Optional Upgrades

| Upgrade | Reason | Cost (est.) |
| --- | --- | --- |
| 1× B200 PRO | +2,048Wh battery buffer | $999 |
| 2 More Solar Panels | Near full recharge capacity | $300–$600 |
| Fire Sensor | Safety + insurance proof | $30 |
| Smart Vent Panel | Run solar cables safely | $50 |

## 📌 Addresses + Price Recap

| Item | Location/URL | Cost (mo) |
| --- | --- | --- |
| 🧠 Office Unit | Security Public Storage, 2400 E Monte Vista Ave, Vacaville, CA | $125 |
| 💪 Planet Fitness | 154 Browns Valley Pkwy, Vacaville, CA | $25 |
| 🚿 Laundry | Vacaville Laundryworks, 3031 Alamo Dr, Vacaville, CA | $20 est |
| ⛽ Gas | 6–7 mi/day = ~$29/month | $29 |
| ⚡ Solar Power | Covered by ALLWEI PPS2400 + 2×200W panels (already owned) | $0 |

Would you like:

- 📋 A printable SOP checklist?

- 🔌 A wiring diagram for solar + power strip + ALLWEI integration?

- 💸 Suggestions to offset cost via side gigs or digital work options?

Ready to deploy when you say “GO.”